Assessment of dose-averaged linear energy transfer with passive luminescence detectors in clinical proton beams

Description:

A dedicated effort was put into finding the optical signatures of the Liner Energy Transfer (LET) of the different types of passive luminescent detectors. The linearity coefficient (so-called detector efficiency to protons) depends on detector material energy response to protons and radiation quality parameters (i.e. kinetic energy, in case of irradiation with protons). Detailed knowledge of detector efficiency is crucial in establishing a calibration method for detectors exposed to mixed fields of protons (or any other heavy ions). This work investigates the use of several types of passive luminescence detectors to determine different types of averaged linear energy transfer (LET) for the understanding of its behavior when energies relevant to proton therapy are being used. A dedicated measurement campaign has been prepared for the most commonly used luminescent detectors set, including optically stimulated luminescence detectors (OSL). The conducted research intended to gather a basic knowledge of the behavior of different passive luminescent detectors' response to protons relative to gamma-rays, which may help the future development of 2D OSL energy/LET mapping technology in modern radiotherapeutic techniques such as proton radiotherapy.

Irradiations:

The detectors were irradiated in four positions in two irradiation plans; one 160 MeV quasi-monoenergetic beam and one spread-out Bragg peak (SOBP) consisting of 24 energy layers ranging from 78 MeV to 154 MeV providing a 10 cm × 10 cm × 10 cm box, both by lateral scanning. The experimental setup and each measurement configuration details are shown in figure 1.

Results:

Figure 1 panel i) shows the experimental setup for four detectors irradiation positions (2a, 1a, 1b, 1c) and ii) resulting LET values (calculated form efficiency ratio) for protons.

i)

ii)

Figure 1. (i) Scheme of the experimental setup for detectors irradiations (i) The LET values (calculated form efficiency ratio) for protons.

This repository contains the measurement data used for the LET calculations within this study. The data frames below contain the raw data for the LET determinations.

File name explanation: LET_rawdata  	1a1_21

Position during irradiation/consecutive detector number